# Plumbing Project – Sprinkler Stand

Name ______________________

### Description:

For this project you will work with three common plumbing materials: galvanized pipe, copper pipe, and plastic pipe to make a sprinkler stand.

### Materials:

½” Galvanized pipe

½” Copper Pipe

½” PVC Pipe

2 - ½” Copper Male Adapter

1 – ½” x ¾” IPS x FHT adapter PVC

1 – ½” TTT PCV Tee

1 – ½” SST PCV Tee

2 – ½” S PCV Cap

### Tools/Supplies:

Steel pipe cutter

Pipe Die

Pipe reamer

Hack Saw

PVC Cutter

Solder

Propane Torch

Flux and Brush

PVC Cement

Pipe Joint Compound

Copper Pipe Brushes

Pipe Wrench

### Directions:

Read the directions before beginning the lab.  Dimensions are from the OUTSIDE of the fittings.  Note the completed project should lay flat with the TTT Tee oriented plumb (sprinkler would be straight).  You may begin the project by construction of any of the materials.

- Determine the correct length of the four pipes to fit the diagram.  (Hint:  See Table in Appendix B of your text.)  Allow for threads and socket joints.

- Cut a _______" Galvanized Pipe nipple. Thread one end with the power threader, ream, and cut to length.  Thread the other end by hand and ream.

- Cut a piece of copper pipe __________" long to fit the diagram below using a hack saw.  Length should be adjusted for the copper fittings and the depth the fitting will screw into the PVC fitting.  Assemble the copper pipe and fittings.  Solder the joint.

- Cut 2 pieces of PVC pipe _________" long to fit the diagram below.

- Have the Galvanized Pipe threading/reaming graded BEFORE ASSEMBLY

- Assemble the project using PVC cement and Pipe Joint Compound.  Use a pipe wrench to insure that the threaded fittings are tight.

- Plug ½” FIPT (in the teel) with the provided fitting and have your project pressure test checked and remove the plug.

- Turn in the finished project with the grade sheet for final grading.

TTT Tee (for sprinkler

Not to Scale

Copper

PVC

Hose Adapter

Galvanized

SST Tee

Galvanized

PVC Cap

7”

10”

8” (tee centered)

Name ______________________

### Plumbing Project Grade Sheet

| Criteria | Possible | Score |
| --- | --- | --- |
| Graded During Class: |  |  |
| Galvanized thread quality and reaming | 2 |  |
| Pressure Test (2 per joint, pass/fail) | 16 |  |
| Graded Later: |  |  |
| Project Width (end) (+/- 1/8”) | 2 |  |
| Project SST Tee Centered (+/- 1/8”) | 2 |  |
| Project Length (+/- 1/8”) | 2 |  |
| Project TTT Tee Location (+/- 1/8”) | 2 |  |
| Project TTT Tee Plumb (+/- 1/8”) | 2 |  |
| Copper fitting solder joint quality | 2 |  |
| PVC glue joint quality | 2 |  |
| Workmanship (project clean, pipe not scarred, etc) | 4 |  |
| TOTAL | 36 |  |