# Plumbing Safety

### Materials

The materials used in plumbing may expose the plumber to health hazards.

- Glues and solvents used with plastic pipe of special concern.  Use in well ventilated areas and avoid ignition sources.  See MSDS for more information.

- Pipe sealing compounds may also poses some hazards (see MSDS)

### Sanitation

Special precautions should be taken with working on existing sewer pipe.  Sewers contain biological health hazards and possibly toxic chemicals.  Personal protection equipment should be used and skin thoroughly washed after exposure.

### Personal Safety Equipment

Safety glasses should always be worn to protect the eyes from flying debris, chemicals, and biological hazards.  Gloves, boots, and coveralls may also be appropriate under some conditions

### General Safety Tips

- Electrical tools should be used with extreme caution in wet areas.  Follow safety instructions for the tool.

- Always check for existing wiring and other pipes before boring holes for new pipes.

- Torches used for soldering are hot and freshly soldered joints are also hot posing a burn hazard.

- Care must be taking when soldering pipe in place not to burn the surrounding building.  Have fire extinguishers on hand and always check charred surfaces for heat.

- Spent fuel bottles should be disposed of properly

- Lead solder is not to be used for potable water plumbing.

- Threading machines create sharp shavings, heat, and hot pipe.  Use threading machines according to the manufacturer’s directions.